Procedure for submission of data to SLDC for Renewable Energy Certificate

As per the CERC Terms and Conditions for recognition and issuance of Renewable Energy Certificate for Renewable Energy Generation Regulations, 2010, clause 7 (5) specifies “The process of certifying the energy injection shall be as stipulated in the detailed procedure to be issued by the Central Agency”

Accordingly, provisions were made in detailed procedures and clause 3.5, step 6 of the procedure specifies “The central agency shall only issue Renewable Energy Certificate to the Eligible Entity after confirming, the claims made by the Eligible Entity, with the Energy Injection Report submitted by the SLDC”.

- To send Energy Injection Report to Central Agency by E-mail/Fax in the format enclosed.

- Follow Indian Electricity Grid Code and State Grid Code for the purpose of accounting renewable energy injected into the grid.

- In case the Eligible Entity is connected to the transmission network, maintain the record of meter readings and communicate the energy injection report for each accredited RE project of the registered Eligible Entity within State to the Central Agency on monthly basis.

- In case the Eligible Entity is connected to the distribution network of Distribution Utility, establish protocol for receipt of information and maintenance of the record of meter readings for such RE projects. Further, arrange to communicate injection report for each accredited RE project of the registered Eligible Entity within the State to the Central Agency on monthly basis.

- In case the Eligible Entity is CPP and is connected to the transmission/distribution network of Transmission/Distribution Utility, SLDC shall establish protocol for receipt of information and maintenance of the record of meter readings including self consumption for such RE projects. Further, SLDC shall arrange to communicate injection report for each accredited RE project of the registered Eligible Entity within the State to the Central Agency on monthly basis.

- Communicate renewable energy injected into the grid for each accredited RE project of the registered Eligible Entity within State to the State Agency.

Distribution Licensee

- In case of RE projects connected to the distribution network, the concerned distribution licensee shall undertake joint meter reading (along with concerned RE Generator) and maintain energy accounting information of such Renewable Energy Generator on monthly basis.

- In case renewable energy generator is connected with the network of the distribution licensee, submit energy injection report to the concerned SLDC on monthly basis.

- In case of CPP, the meter data for self consumption shall be provided to SLDC by Concerned distribution licensee, even though the Re-generator connected to the grid on EHV network.

Transmission Licensee

- In case the Eligible Entity is connected to the transmission network, maintain the record of meter readings and submit energy injection report to the concerned SLDC on monthly basis.

Metering Arrangement:

- The special Energy Meters (ABT Compliant) shall be provided to all the feeders whose data is required for Energy Injection Report.

- In case of CPP, the feeders meeting its self consumption and aux. consumption should be separated and metered. As the auxiliary consumption is not eligible for REC,

In view of the National Electricity Policy, SERC shall determined the tariff of the Non-conventional sources and decide the purchase obligation as envisaged in section 86 (1) (e) of electricity act. MERC has issued the Regulations, 2010 for Renewable Purchase obligation, its compliance and implementation of REC Framework. The order is in consistent with the CERC regulation.

As per the procedure laid down by the central agency SLDC be responsible for submitting the Energy Injection Report to NLDC in respect of Re-generator for issuance of Renewable Energy Certificate. Hence Re-generator shall submit the data in the enclosed pro-forma along with MRI data.

Also only the Grid connected Re-generators are eligible for the REC, hence following documents are also be provided to SLDC.

- EPA/PPA/ LOI with distribution licensee for the period for which REC claimed.

- Single line diagram of the plant showing connectivity with the Grid.

- Details of Special Energy Meters installed and commissioned.

- Certificate of accreditation issued by State Agency.

- Certificate of Registration issued by Central Agency.

Pro-forma

On the letter Head of concern Discom/ if connected to distribution Network

- Name of Re-generator & Capacity		:

- Location				:

- Accreditation No.		:

- Connected to grid at		:

- Meter No. 1. Main

2. Check

f. C.T. Ratio				:

g. M. F.				:

| Date |  | Total Generation | Aux. Consumption | Self Consumption from own source | Units injected in to the Grid |
| --- | --- | --- | --- | --- | --- |
| 1st Date of Month | Initial Reading |  |  |  |  |
| Last date of Month | Final Reading |  |  |  |  |
| Difference |  |  |  |  |  |
| M.F. |  |  |  |  |  |
| Total units |  |  |  |  |  |

Note: Data related to the self consumption & aux. consumption of RE generator shall be provided by concern distribution licensees by taking joint meter reading.

Signed & Seal of Generator			Signed & Seal of Nodal Discom/

Transco.

ENERGY INJECTION REPORT

| Sr. No. | Name of the SLDC | Maharashtra |
| --- | --- | --- |
| 1 | Name of the Applicant/ Email Address |  |
| 2 | Registration Number of the Applicant |  |
| 3 | Energy Injection Period (Month & Year) |  |
| 4 | Name of the concerned Licensee |  |
| 5 | Opening Balance |  |
| 6 | - Total quantity of Energy injection MWH during the month |  |
| 7 | - Quantum of Energy sold under preferential tariff |  |
| 8 | - Quantum of Energy available for issuance of RECs (MWH) |  |
| 9 | - Quantum of Energy for which issuance of RECs is requested (MWH) |  |
| 10 | - Quantum of Balance Energy (MWH) for eligible for issuance of RECs |  |

Signed & Seal of Generator			Signed & Seal of Nodal Discom/

Transco.